{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":18,"n_cols":8,"rows_kept":18,"merged":[[0,1,0,2],[1,0,4,0],[1,1,4,1],[1,2,2,2],[1,7,4,7],[5,0,8,0],[5,1,8,1],[5,7,8,7],[9,0,14,0],[9,1,14,1],[9,7,14,7],[10,3,11,3],[15,0,16,0],[15,1,16,1],[15,7,16,7]],"flags":["formulas_cached_only"]}
["序号","环境工程类别",null,"单位","大型","中型","小型","备注"]
[1,"水污染防治工程","工业废水治理","废水量：吨/日          ","≥5000      ","1000-5000 ","<1000    ","水污染防治工程包括：          1. 工业废水污染防治工程\n2. 城镇污水污染防治工程（不含市政管网、泵站以及厂内办公楼等公共建筑物）\n3. 污废水回用工程\n4. 医院、畜禽养殖业、垃圾渗滤液等特种行业废水污染防治工程"]
[{"$nulls":3},"COD负荷：公斤/日","  ≥10000 ","  4000-10000","<4000"]
[null,null,"城镇污水处理","污水量：吨/日","≥20000","8000-20000","<8000"]
[null,null,"污（废）水回用","污（废）水量：吨/日","≥10000","2000-10000","<2000"]
[2,"大气污染    防治工程","工业蒸汽锅炉   烟气治理","单台装机容量：蒸吨/小时","≥65","35-65","<35","大气污染防治工程包括：           1.烟尘、粉尘污染防治工程\n2.气态及气溶胶污染防治工程\n3.室内空气污染防治工程"]
[null,null,"发电锅炉烟气   治理","单台装机容量：兆瓦","≥100","25-100","<25"]
[null,null,"工业窑炉烟气   治理","废气量：万立方米/小时","≥20","6-20","<6"]
[null,null,"其他工业废气   治理","废气量：万立方米/小时","＞10","3-10","<3"]
[3,"固体废物处理处置工程","一般工业固体   废物处理与利用","投资额：万元","≥2000","500-2000","<500","固体废物处理处置工程包括：                 1.生活垃圾处理处置工程（不含办公楼等公共建筑物）\n2.一般工业固体废物处理处置工程\n3.危险固体废物处理处置工程\n4.其他固体废物处理处置工程"]
[null,null,"危险废物处理    处置   ","处理量：吨/日","≥20","10-20","<10"]
[null,null,"（其中医疗废物处置）",null,"（≥10）","（5-10）","（<5）"]
[null,null,"生活垃圾焚烧工程","处理量：吨/日","≥200","50-200","<50"]
[null,null,"生活垃圾卫生填埋工程","处理量：吨/日","≥500         ","200-500","<200"]
[null,null,"生活垃圾堆肥       工程","处理量：吨/日","≥300","100-300","<100"]
[4,"物理污染          防治工程","噪声与振动治理","投资额：万元","≥150","50-150","<50","物理污染防治工程包括：             1.交通噪声污染防治工程\n2.建筑施工噪声污染防治工程\n3.工业噪声污染防治工程\n4.室内噪声污染防治工程\n5.振动防治污染工程\n6.电磁污染防治工程"]
[null,null,"电磁污染防治","投资额：万元","≥400","100-400","<100"]
[5,"污染修复  工程","污染水体、土壤、矿山修复      等工程","投资额：万元","≥3000","500-3000","<500","污染修复工程包括：             1.污染水体修复工程\n2.污染土壤修复工程\n3.矿山修复等工程\n4.其他生态恢复工程"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}